11.3 Crane critical Lift Plan

| Critical Lift Checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Criteria- Check all boxes that may apply |  |  |  |  |
|  | Load Exceeds 75% of Load Chart |  |  |  |
|  | Two or More Cranes Required |  |  |  |
|  | Load Value Exceeds $50,000 |  |  |  |
|  | Load Replacement Time Exceeds Two Months |  |  |  |
|  | Other: |  |  |  |
| Description of Object to Be Raised |  |  |  |  |
| Lift Director: Date of Lift: |  |  |  |  |
| How Weight of Object Was Obtained |  |  |  |  |
| Certified Scale Weight: |  |  |  | Ticket #: |
| Must Be Calculated by More Than One Source: |  |  |  |  |
| Source: |  | Weight: |  |  |
| Source: |  | Weight: |  |  |
| Weight of All Rigging and Crane Attachments from Load Charts |  |  |  |  |
| Main Block Weight: |  |  |  |  |
| Cable Weight: |  |  |  |  |
| Headache Ball Weight: |  |  |  |  |
| Lifting Beam: |  |  |  |  |
| Slings and shackles: |  |  |  |  |
| Jib: |  |  |  |  |
| Headache Ball on Jib: |  |  |  |  |
| Cable on Jib: |  |  |  |  |
| Other: |  |  |  |  |
| Total Weight of Object, Rigging, and Load Chart Deductions |  |  |  |  |
| Equipment and Lift Relationship |  |  |  |  |
| Crane Make |  |  |  |  |
| Crane Model |  |  |  |  |
| Crane Capacity |  |  |  |  |
| Maximum Operating Radius Center of Load to Center of Pin of Crane |  |  |  |  |
| Planned Operating Radius |  |  |  |  |
| Length of Boom |  |  |  |  |
| Angle of Boom at Pick-up |  |  |  |  |
| Angle of Boom at Set |  |  |  |  |
| Allowable Load (From Load Chart) |  |  |  |  |
| Ratio of Lift to Allowable Load |  |  |  |  |
| Clearance Between Boom and Lift |  |  |  |  |
| Clearance to Surrounding Facilities |  |  |  |  |
| Clear Path for Load Movement Checked |  |  |  |  |
| Rated Capacity of Crane Under Most Severe Conditions Over Rear |  |  |  |  |
| Rated Capacity of Crane Under Most Severe Conditions Over Front |  |  |  |  |
| Rated Capacity of Crane Under Most Severe Conditions Over Side |  |  |  |  |
| From Chart—Rated Capacity of Crane for this lift |  |  |  |  |
| Max. Load on Crane |  |  |  |  |
| Lift is _________% of Crane’s Rated Capacity |  |  |  |  |
| Lift Calculations Performed By: |  |  |  |  |

| Inspection Checklist |  |  |  |
| --- | --- | --- | --- |
| Soil Bearing Capacity: |  |  | Source: |
| Matting Requirements: |  |  | Size and Number: |
| Underground Installations |  |  | Yes ___ No ___ |
| Outriggers, if applicable, fully extended |  |  |  |
| Crane inspected immediately prior to critical lift |  |  |  |
| Swing room |  |  |  |
| Head room |  |  |  |
| Max. Counterweights Used |  |  |  |
| Tag Line Used |  |  |  |
| Clearance from power lines |  |  |  |
| Diagram completed for all dual crane lifts |  |  |  |
| Pre-lift meeting held with crew |  |  |  |
| Will Lift Drawings Be Required? |  |  |  |
| Type of Communications to Be Used |  |  |  |
| Wind and Weather Restrictions |  |  |  |
| Rigging Selection |  |  |  |
| Type of Sling |  |  |  |
| Type of Arrangement |  |  |  |
| Number of Slings in Hook-up |  |  |  |
| Sling Size |  |  |  |
| Sling Length |  |  |  |
| Sling Capacity of each leg |  |  |  |
| Number of Shackles |  |  |  |
| Capacity of Shackles |  |  |  |
| Means to Keep Lift Area Clear of Unnecessary Personnel |  |  |  |
| Any Special Conditions |  |  |  |
| Critical Lift Approvals |  |  |  |
| Superintendent |  |  |  |
| Qualified Signal Person |  |  |  |
| Qualified Rigger |  |  |  |
| Lift Director |  |  |  |
| Engineering |  |  |  |
| Crane Operator |  |  |  |

Completed by: _______________________________________ Date: _______________

Note: Multiple crane lifts require a separate critical lift checklist be completed for each crane

Note: Any changes in the configuration of the crane, crane placement, rigging, lifting scheme or changes in any calculations require that a new critical lift checklist be completed.